## Slide 1
Homonuclear 2D NMR
COSY and its variants, TOCSY, INADEQUATE and ADEQUATE
Nuclear Magnetic Resonance – Theory and Techniques
Laura Castañar Acedo
Laura.castanaracedo@manchester.ac.uk
School of Chemistry
University of Manchester
1st March, 2017

## Slide 2
Overview
Homonuclear 2D NMR
COSY
TOCSY
ADEQUATE
INADEQUATE
Suggested Reading - Timothy D. W. Claridge, High resolution NMR techniques in organic chemistry (3E), 2016, Elsevier, Chapter 6.
- James Keeler, Understanding NMR Spectroscopy (2E), 2010, Wiley, Chapter 8.
Some figures in this lecture are taken from them.

## Slide 3
Homonuclear 2D NMR
Time domain
Frequency domain
F2 dimension or
direct dimension
F1 dimension or
indirect dimension
Double FT

## Slide 4
Homonuclear 2D NMR
Chemical shift (d)
Spin-spin coupling (JHH)
d
d
JHH
JHH
COSY
TOCSY
F1 Pure shift
2D J-resolved

## Slide 5
2D NMR, signal lineshapes
Double absorption signal
Phase twist signal
Double dispersion signal
Absolute value signal

## Slide 6
2D NMR, signal lineshapes
Double absorption signal
In-phase multiplet
Anti-phase multiplet
JHH
JHH
JHH
JHH

## Slide 7
COSY (COrrelation SpectroscopY)
Ibuprofen
Diagonal peaks
2JHH
3JHH
3JHH
Cross-peaks
W. P. Aue, E. Bartholdi, and R. R. Ernst, J. Chem. Phys., 1976, 64, 2229.

## Slide 8
COSY and its variants
Magnitude mode
COSY
DQF-COSY
AP-absorption Absol. value AP- absorption Absol. value
AP- dispersion Absol. value AP- absorption Absol. value
Crosspeaks
Diag.
peaks
Phase sensitive
Magnitude mode
Phase sensitive
JHH
JHH

## Slide 9
DQF-COSY (Double-Quantum Filtered)
Phase sensitive
COSY
DQF-COSY
Phase sensitive
Quinine
24
9
7
8
6
5
4
3
2
9
24
7
6
6’
2
2’
3
5’,8’
5,8
4
24
6
5’,8’
7
3
9
5,8
6’
2
2’
U. Piantini, O. Sørensen, and R. R. Ernst, J. Am. Chem. Soc., 1982, 104, 6800.

## Slide 10
DQF-COSY
Magnitude mode
COSY
DQF-COSY
Phase sensitive
4
24
6
8’, 5’
7
3
9
5,8
6’
2
2’
Quinine
24
9
7
8
6
5
4
3
2
4
24
6
8’, 5’
7
3
9
5,8
6’
2
2’

## Slide 11
LR-COSY (Long-Range COSY)
A. Bax, R. Freeman, J. Magn. Reson., 1981, 44, 542.
6
1
7
3
9
6
1
7
3
9
COSY
LR-COSY
6
1
7
3
9
6
1
7
3
9
6
1
7
3
9
4-aminonaphthalene-2,7-disulfonate

## Slide 12
CLIP-COSY (Clean In-Phase COSY)
M. R. M. Koos, G. Kummerlçwe, L. Kaltschnee, C. M. Thiele, and B. Luy, Angew. Chem. Int. Ed., 2016, 55, 7655.
Estradiol
Cross- and diagonal peaks
In-phase double
absorption lineshape
JHH
JHH

## Slide 13
COSY and its variants
Experiment | Advantages | Drawbacks
COSY Absolute value (magnitude mode) | Simple and robust | Poor resolution (mag. mode) Mask of peaks close by diag. Non cross-peak fine structure J measurements not possible
DQF-COSY Phase–sensitive (AP-absorption) | High-resolution (absor.) Display peaks close to diag. Cross-peak fine structure J measurements possible Singlet suppressed | Sensitivity loss by a factor of 2 Requires high digital resolution Non cross-peak if J are small
LR-COSY Absolute value (magnitude mode) | Detection of weak J couplings (<1Hz) | Poor resolution (mag. mode) Non cross-peak fine structure J measurements not possible Large J couplings attenuated
CLIP-COSY Phase–sensitive (IP-absorption) | High-resolution (absor.) Display peaks close to diag. Cross-peak fine structure J measurements possible | Requires high digital resolution Some peaks can disappear

## Slide 14
2D NMR - Resolution
F2 resolution
Number of acquisition points
(td2)
1H NMR
td2= 32768 Res=0.3 Hz
td2= 2048 Res=1.9 Hz
F1 resolution
Number of increments
(td1)

## Slide 15
COSY spectra - Resolution
High resolution
Low resolution
td2= 2048 Res=1.9 Hz
td2= 2048 Res=1.9 Hz
td1= 64 Res=62.5 Hz
td2= 2048 Res=1.9 Hz
3h 13min
5min

## Slide 16
Experiments available on IconNMR
Spectrometer Experiment | B11 |  | B12 | B14 | Comments
 | 500 MHz | 400 MHz | 400 MHz | 500 MHz | 
H1_COSY_Day |  |  |  |  | Magnitude mode
H1_COSY_Night |  |  |  |  | Magnitude mode (ns=2)
H1_COSY_NS32_Night |  |  |  |  | Magnitude mode (ns=32)
H1_COSY_NS64_Night |  |  |  |  | Magnitude mode (ns=64)
H1_COSY_HiRes_Night |  |  |  |  | Magnitude mode (High-resolution in F1)
H1_DQFCOSY_Night |  |  |  |  | Phase sensitive (Anti-Phase)

## Slide 17
31P-31P COSY
P7Me5 cluster
19F-19F COSY
6
1
7
3
9
8
5
4

## Slide 18
TOCSY (Total Correlation SpectroscopY)
3JHH
3JHH
L. Braunschweiler, R. R. Ernst, J. Magn. Reson., 1983, 53, 521.
Azo-sugar
2
3
4
6
5
3JHH
3JHH
3JHH
2
4
5
6
3
6’

## Slide 19
TOCSY vs COSY
2
4
5
6
3
6’
COSY
TOCSY
2
4
5
6
3
6’
Azo-sugar
2
3
4
6
5

## Slide 20
TOCSY – mixing time
2
4
5
6
3
6’
COSY
TOCSY
2
4
5
6
3
6’
Azo-sugar
2
3
4
6
5
2
4
5
6
3
6’
Increasing mixing time
mixing time

## Slide 21
Selective 1D-TOCSY
2
3
4
6
5
A
B
C
D
B
C
D

## Slide 22
Mixture analysis – 1D TOCSY
G. Dal Poggetto, L. Castañar, G. A. Morris, M. Nilsson, RSC Adv., 2016, 6, 100063.
Peppermint oil

## Slide 23
???
Mixture analysis – 1D TOCSY
G. Dal Poggetto, L. Castañar, G. A. Morris, M. Nilsson, RSC Adv., 2016, 6, 100063.
Selective excitation

## Slide 24
Mixture analysis – 1D PSYCHE-TOCSY
G. Dal Poggetto, L. Castañar, G. A. Morris, M. Nilsson, RSC Adv., 2016, 6, 100063.
1D TOCSY
1D PSYCHE-TOCSY
Menthol
Neomenthol
Menthone

## Slide 25
Pure shift NMR – PSYCHE-TOCSY
M. Foroozandeh et al., JACS, 2014, 136, 11867.
Conventional TOCSY
PSYCHE-TOCSY
Estradiol

## Slide 26
Experiments available on IconNMR
Spectrometer Experiment | B11 |  | B12 | B14 | Comments
 | 500 MHz | 400 MHz | 400 MHz | 500 MHz | 
H1_TOCSY_Night |  |  |  |  | 2D spectrum Phase sensitive (IP)
H1_TOCSY_US_Night |  |  |  |  | 2D spectrum Phase sensitive (IP)

## Slide 27
INADEQUATE
Incredible Natural Abundance DoublE QUAntum Transfer Experiment
1JCC
1JCC
1JCC
A. Bax, R. Freeman, S. P. Kempsell, J. Am. Chem. Soc., 1980, 102, 4849

## Slide 28
INADEQUATE
Incredible Natural Abundance DoublE QUAntum Transfer Experiment
1JC2C3
2
4
1
3
2
4
1
3
0.01% 13C-13C
13C skeleton
Very low sensitivity
Long acquisitions

## Slide 29
ADEQUATE
Adequate DoublE QUAntum Transfer Experiment
1JCH
1JCC
B. Reif, M. Köck, R. Kerssebaum, H. Kang, W. Fenicial, C. Griesinger, J. Magn. Reson., 1996, 118, 282.
1,1-
1,n-
n,1-
n,m-
1JCH
nJCC
nJCH
1JCC
nJCH
nJCC

## Slide 30
1,1-ADEQUATE
1JCH
1JCC
2
4
1
3
5
6
9
8
7