- Fume hoods are designed to protect the users from exposure to harmful substances.

- The effectiveness of a fume hood is reduced if they are opened too far (above safe working height) or too cluttered with apparatus which will interfere with the flow of air.

- Interiors of fume hoods must be kept tidy and rear vents clear to ensure correct flow of air.

- Front sashes must be set to the correct indicator line (safe working height) when in operation and closed when not in use. Operating above the safe working height could jeopardise your safety.

- Heads must be kept out of fume hood whilst working.

- If your fume hood alarm sounds, there is a problem, report it to the safety office.